{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Hoja 1","Hoja 2"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Hoja 1","index":0,"n_rows":141,"n_cols":3,"rows_kept":141,"cut":false,"hidden":false,"merged":[]}
["Available parameters","Parameter in DEXMA","Factor applied"]
["time(UTC)","1",0.0]
["Total Real Power (kW)","401",1000.0]
["Real Power, Total (kW)","401",1000.0]
["System power P sum (W)","401",1.0]
["Real Power (Watts)","401",1.0]
["Real Power, Phase A (kW)","401a",1000.0]
["Phase A power Pa (W)","401a",1.0]
["Real Power Phase A (Watts)","401a",1.0]
["Real Power, Phase B (kW)","401b",1000.0]
["Phase B power Pb (W)","401b",1.0]
["Real Power Phase B (Watts)","401b",1.0]
["Real Power, Phase C (kW)","401c",1000.0]
["Phase C power Pc (W)","401c",1.0]
["Real Power Phase C (Watts)","401c",1.0]
["Real Energy Consumption (kWh)","402",1.0]
["Energy, Real, Out (kWh)","402",1.0]
["Energy IMP (kWh)","402",1.0]
["Forward Real Energy (watt-hours)","402",0.001]
["Total Reactive Power (kVAR)","403",1000.0]
["Reactive Power, Total (kVAR)","403",1000.0]
["System reactive power Qsum (VAR)","403",1.0]
["Reactive Power, Phase A (kVAR)","403a",1000.0]
["Phase A reactive power Qa (VAR)","403a",1.0]
["Reactive Power, Phase B (kVAR)","403b",1000.0]
["Phase B reactive power Qa (VAR)","403b",1.0]
["Reactive Power, Phase C (kVAR)","403c",1000.0]
["Phase C reactive power Qc (VAR)","403c",1.0]
["Reactive Energy Consumption (kVARh)","404",1.0]
["Energy, Reactive, Out (kVARh)","404",1.0]
["Reactive Energy IMP (kVARh)","404",1.0]
["Voltage, L-N, ave of 3 phases (Volts)","405",1.0]
["Voltage, L-N Average (Volts)","405",1.0]
["Average voltage Vavg (Volts)","405",1.0]
["V(L-N) Average (Volts)","405",1.0]
["Voltage, A-N (Volts)","405a",1.0]
["Phase voltage V1 (Volts)","405a",1.0]
["Van (Volts)","405a",1.0]
["Voltage, B-N (Volts)","405b",1.0]
["Phase voltage V2 (Volts)","405b",1.0]
["Vbn (Volts)","405b",1.0]
["Voltage, C-N (Volts)","405c",1.0]
["Phase voltage V3 (Volts)","405c",1.0]
["Vcn (Volts)","405c",1.0]
["Current, Instantaneous, A (Amps)","406a",1.0]
["Phase (line) current I1 (Amps)","406a",1.0]
["Current, Phase A (Amps)","406a",1.0]
["Ia (Amps)","406a",1.0]
["Current, Instantaneous, B (Amps)","406b",1.0]
["Phase (line) current I2 (Amps)","406b",1.0]
["Current, Phase B (Amps)","406b",1.0]
["Ib (Amps)","406b",1.0]
["Current, Instantaneous, C (Amps)","406c",1.0]
["Current, Phase C (Amps)","406c",1.0]
["Phase (line) current I3 (Amps)","406c",1.0]
["Ic (Amps)","406c",1.0]
["Total Apparent Power (kVA)","409",1000.0]
["Apparent Power, Total (kVA)","409",1000.0]
["System apparent power Ssum (VA)","409",1.0]
["Apparent Power, Phase A (kVA)","409a",1000.0]
["Phase A apparent power Sa (VA)","409a",1.0]
["Apparent Power, Phase B (kVA)","409b",1000.0]
["Phase B apparent power Sb (VA)","409b",1.0]
["Apparent Power, Phase C (kVA)","409c",1000.0]
["Phase C apparent power Sc (VA)","409c",1.0]
["Apparent Energy Consumption (kVAh)","410",1.0]
["Energy, Apparent (kVAh)","410",1.0]
["Total Power Factor","412",1.0]
["True Power Factor, Total","412",1.0]
["System power factor PFsum","412",1.0]
["PF Apparent (PF)","412",1.0]
["True Power Factor, Phase A","412a",1.0]
["Phase A power factor PFa","412a",1.0]
["PF App Phase A (PF)","412a",1.0]
["True Power Factor, Phase B","412b",1.0]
["Phase B power factor PFb","412b",1.0]
["PF App Phase B (PF)","412b",1.0]
["True Power Factor, Phase C","412c",1.0]
["Phase C power factor PFc","412c",1.0]
["PF App Phase C (PF)","412c",1.0]
["Current, Instantaneous, Neutral (Amps)","413",1.0]
["Current, Neutral (Amps)","413",1.0]
["Neutral line current In (Amps)","413",1.0]
["In (Amps)","413",1.0]
["Frequency (Hz)","414",1.0]
["Average THD of V (%)","422",1.0]
["THD Voltage, Phase A-N (%)","422a",1.0]
["THD, Voltage, A-N (%)","422a",1.0]
["THD V1 of V1(V12) (%)","422a",1.0]
["THD Voltage, Phase B-N (%)","422b",1.0]
["THD, Voltage, B-N (%)","422b",1.0]
["THD V1 of V2(V31) (%)","422b",1.0]
["THD Voltage, Phase C-N (%)","422c",1.0]
["THD, Voltage, C-N (%)","422c",1.0]
["THD V1 of V3(V23) (%)","422c",1.0]
["Average THD of I (%)","423",1.0]
["THD Current, Phase A (%)","423a",1.0]
["THD, Current, Phase A (%)","423a",1.0]
["THD I1 (%)","423a",1.0]
["THD Current, Phase B (%)","423b",1.0]
["THD, Current, Phase B (%)","423b",1.0]
["THD I2 (%)","423b",1.0]
["THD Current, Phase C (%)","423c",1.0]
["THD, Current, Phase C (%)","423c",1.0]
["THD I3 (%)","423c",1.0]
["Current, ave of 3 phases (Amps)","426",1.0]
["Current, Average (Amps)","426",1.0]
["Average current Iavg (Amps)","426",1.0]
["Energy EXP (kWh)","452",1.0]
["Reactive Energy EXP (kVARh)","454",1.0]
["Gas Energy","420",1.0]
["Thermal Energy","802",1.0]
["Water Volume","901",1.0]
["Water Flow","902",1.0]
["Gas Volume","419",1.0]
["Diesel Volume","432",1.0]
["Produced Active Energy (kWh)","452",1.0]
["Solar Radiation (W/m2)","316",1.0]
["Volume Hot Water (Cubic Meters)","803",1.0]
["Flow Temperature (Degrees C)","806",1.0]
["Return Temperature (Degrees C)","805",1.0]
["Thermal Power Heating (kW)","801",1.0]
["Thermal Energy Heating (kWh)","802",1.0]
["Inlet Temperature (Degrees C)","805",1.0]
["Outlet Temperature (Degrees C)","806",1.0]
["Low Pressure (Bar)","808",1.0]
["High Pressure (Bar)","809",1.0]
["Thermal Energy Cooling (kWh)","810",1.0]
["Thermal Power Cooling (kW)","811",1.0]
["Water Volume (Cubic Meters)","901",1.0]
["Water flow (Cubic Meters/hr)","902",1.0]
["Fluid Temperature (Degrees C)","921",1.0]
["Fluid Pressure (Bar)","923",1.0]
["Air Quality CO2 (PPM)","307",1.0]
["Compressed air volume (Cubic Meters)","435",1.0]
["Compressed air flow (Cubic Meters/hr)","436",1.0]
["Compressed air pressure (Bar)","437",1.0]
["Normalized Gas Volume (Cubic Meters)","421",1.0]
["Time of Use (hours)","161",1.0]
["Steam Energy (kWh)","475",1.0]
["Steam Mass (kg)","476",1.0]

{"sheet":"Hoja 2","index":1,"n_rows":140,"n_cols":4,"rows_kept":140,"cut":false,"hidden":false,"merged":[]}
[":",1.0,0.0,""]
[":",401.0,1000.0,""]
[":",401.0,1000.0,""]
[":",401.0,1.0,""]
[":",401.0,1.0,""]
[":","401a",1000.0,""]
[":","401a",1.0,""]
[":","401a",1.0,""]
[":","401b",1000.0,""]
[":","401b",1.0,""]
[":","401b",1.0,""]
[":","401c",1000.0,""]
[":","401c",1.0,""]
[":","401c",1.0,""]
[":",402.0,1.0,""]
[":",402.0,1.0,""]
[":",402.0,1.0,""]
[":",402.0,1.0,""]
[":",403.0,1000.0,""]
[":",403.0,1000.0,""]
[":",403.0,1.0,""]
[":","403a",1000.0,""]
[":","403a",1.0,""]
[":","403b",1000.0,""]
[":","403b",1.0,""]
[":","403c",1000.0,""]
[":","403c",1.0,""]
[":",404.0,1.0,""]
[":",404.0,1.0,""]
[":",404.0,1.0,""]
[":",405.0,1.0,""]
[":",405.0,1.0,""]
[":",405.0,1.0,""]
[":",405.0,1.0,""]
[":","405a",1.0,""]
[":","405a",1.0,""]
[":","405a",1.0,""]
[":","405b",1.0,""]
[":","405b",1.0,""]
[":","405b",1.0,""]
[":","405c",1.0,""]
[":","405c",1.0,""]
[":","405c",1.0,""]
[":","406a",1.0,""]
[":","406a",1.0,""]
[":","406a",1.0,""]
[":","406a",1.0,""]
[":","406b",1.0,""]
[":","406b",1.0,""]
[":","406b",1.0,""]
[":","406b",1.0,""]
[":","406c",1.0,""]
[":","406c",1.0,""]
[":","406c",1.0,""]
[":","406c",1.0,""]
[":",409.0,1000.0,""]
[":",409.0,1000.0,""]
[":",409.0,1.0,""]
[":","409a",1000.0,""]
[":","409a",1.0,""]
[":","409b",1000.0,""]
[":","409b",1.0,""]
[":","409c",1000.0,""]
[":","409c",1.0,""]
[":",410.0,1.0,""]
[":",410.0,1.0,""]
[":",412.0,1.0,""]
[":",412.0,1.0,""]
[":",412.0,1.0,""]
[":",412.0,1.0,""]
[":","412a",1.0,""]
[":","412a",1.0,""]
[":","412a",1.0,""]
[":","412b",1.0,""]
[":","412b",1.0,""]
[":","412b",1.0,""]
[":","412c",1.0,""]
[":","412c",1.0,""]
[":","412c",1.0,""]
[":",413.0,1.0,""]
[":",413.0,1.0,""]
[":",413.0,1.0,""]
[":",413.0,1.0,""]
[":",414.0,1.0,""]
[":",422.0,1.0,""]
[":","422a",1.0,""]
[":","422a",1.0,""]
[":","422a",1.0,""]
[":","422b",1.0,""]
[":","422b",1.0,""]
[":","422b",1.0,""]
[":","422c",1.0,""]
[":","422c",1.0,""]
[":","422c",1.0,""]
[":",423.0,1.0,""]
[":","423a",1.0,""]
[":","423a",1.0,""]
[":","423a",1.0,""]
[":","423b",1.0,""]
[":","423b",1.0,""]
[":","423b",1.0,""]
[":","423c",1.0,""]
[":","423c",1.0,""]
[":","423c",1.0,""]
[":",426.0,1.0,""]
[":",426.0,1.0,""]
[":",426.0,1.0,""]
[":",452.0,1.0,""]
[":",454.0,1.0,""]
[":",420.0,1.0,""]
[":",802.0,1.0,""]
[":",901.0,1.0,""]
[":",902.0,1.0,""]
[":",419.0,1.0,""]
[":",432.0,1.0,""]
[":",452.0,1.0,""]
[":",316.0,1.0,""]
[":",803.0,1.0,""]
[":",806.0,1.0,""]
[":",805.0,1.0,""]
[":",801.0,1.0,""]
[":",802.0,1.0,""]
[":",805.0,1.0,""]
[":",806.0,1.0,""]
[":",808.0,1.0,""]
[":",809.0,1.0,""]
[":",810.0,1.0,""]
[":",811.0,1.0,""]
[":",901.0,1.0,""]
[":",902.0,1.0,""]
[":",921.0,1.0,""]
[":",923.0,1.0,""]
[":",307.0,1.0,""]
[":",435.0,1.0,""]
[":",436.0,1.0,""]
[":",437.0,1.0,""]
[":",421.0,1.0,""]
[":",161.0,1.0,""]
[":",475.0,1.0,""]
[":",476.0,1.0,""]