## Sheet1
Sensor ID | Sensor Name | Sensor Unit | Unit Abbreviation | Notes
126 | Real Power | mW | mW
127 | Apparent Power | mVA | mVA
128 | Power Factor | % | %
129 | Watt Hours | Wh | Wh
130 | RMS Voltage | V | V
131 | RMS Current | mA | mA
132 | Peak Voltage | V | V
133 | Peak Current | mA | mA
204 | Volume (m3) | m3 | m3
4096 | Battery Level | mV | mV
324 | Phase A Active Power | W | W
325 | Phase B Active Power | W | W
326 | Phase C Active Power | W | W
305 | Phase C RMS Current | A | A
304 | Phase B RMS Current | A | A
303 | Phase A RMS Current | A | A
300 | Phase A kWh | kWh | kWh
301 | Phase B kWh | kWh | kWh
302 | Phase C kWh | kWh | kWh
306 | Phase A RMS Voltage | V | V
307 | Phase B RMS Voltage | V | V
308 | Phase C RMS Voltage | V | V
135 | Real Power | W | W
136 | Apparent Power | VA | VA
137 | RMS Current | A | A
138 | Peak Current | A | A
327 | Phase A Apparent Power | VA | VA
328 | Phase B Apparent Power | VA | VA
329 | Phase C Apparent Power | VA | VA
309 | Phase A kVAh | kVAh | kVAh
310 | Phase B kVAh | kVAh | kVAh
311 | Phase C kVAh | kVAh | kVAh
312 | Phase A Peak Current | A | A
313 | Phase B Peak Current | A | A
314 | Phase C Peak Current | A | A
315 | Phase A Peak Voltage | V | V
316 | Phase B Peak Voltage | V | V
317 | Phase C Peak Voltage | V | V
330 | Phase A Power Factor | PF | PF
331 | Phase B Power Factor | PF | PF
332 | Phase C Power Factor | PF | PF
333 | Total kWh | kWh | kWh
334 | Total kVAh | kVAh | kVAh
335 | Total Active Power | kW | kW
336 | Total Apparent Power | kVA | kVA
350 | Temperature T1 | C | C
351 | Temperature T2 | C | C
364 | Avg. Current | mA | mA
366 | Max. Current | mA | mA
361 | Avg. Voltage | V | V
363 | Max. Voltage | V | V
337 | Total Power Factor | PF | PF
338 | Interval Phase A kWh | kWh | kWh | (15 Minutes Discrete Values Only)
339 | Interval Phase B kWh | kWh | kWh | (15 Minutes Discrete Values Only)
340 | Interval Phase C kWh | kWh | kWh | (15 Minutes Discrete Values Only)
341 | Interval Total kWh | kWh | kWh | (15 Minutes Discrete Values Only)
342 | Line Frequency | Hertz | Hz
356 | Water Volume | m3 | m3
357 | Lux | lux | lux
358 | Relative Humidity | % | %
370 | Energy | kWh | kWh
371 | Flow Temperature | C | C
372 | Return Temperature | C | C
374 | Water Volume | Litres | L
376 | Power | Watts | W
377 | Volume Flow | Litres per Hour | L/hour
380 | Temperature T1 | C | C
381 | Temperature T2 | C | C
382 | Temperature T3 | C | C
383 | Temperature T4 | C | C
384 | Temperature T5 | C | C
385 | Temperature T6 | C | C
391 | 0-10 Volts Avg 1 | V | V
393 | 0-10 Volts Max 1 | V | V
395 | 4-20 MilliAmps Avg 1 | mA | mA
397 | 4-20 MilliAmps Max 1 | mA | mA
443 | Average Pulse Rate 1 | Hertz | Hz
450 | Pulse Count | pulses | pulses
462 | Interval Pulse Count | pulses |  | (15 Minutes Discrete Values Only)
463 | Pulse Count 2 | pulses
468 | Average Pulse Rate 2 | Hertz | Hz
470 | Digital Input 1 | state
473 | Digital Input 2 | state
491 | 0-10 Volts Avg 2 | V | V
493 | 0-10 Volts Max 2 | V | V
495 | 4-20 MilliAmps Avg 2 | mA | mA
497 | 4-20 MilliAmps Max 2 | mA | mA
503 | Power Factor | % | %
504 | Watt-Hours | Wh | Wh
505 | RMS Voltage | V | V
501 | Real Power | W | W
502 | Apparent Power | VA | VA
508 | RMS Current | A | A
510 | Interval Watt-Hours | Wh | Wh | (15 Minutes Discrete Values Only)
522 | Digital Input 1 | state
523 | Digital Input 2 | state
600 | Channel 1 Energy | KWh | KWh
601 | Channel 1 Flow Temperature | C | C
602 | Channel 1 Return Temperature | C | C
604 | Channel 1 Volume 1 | Litres | L
606 | Channel 1 Power | Watts | W
607 | Channel 1 Flow Rate | Litres per Hour | L/hour
610 | Channel 2 Energy | KWh | KWh
611 | Channel 2 Flow Temperature | C | C
612 | Channel 2 Return Temperature | C | C
614 | Channel 2 Volume 1 | Litres | L
616 | Channel 2 Power | Watts | W
617 | Channel 2 Flow Rate | Litres per Hour | L/hour
620 | Channel 3 Energy | KWh | KWh
621 | Channel 3 Flow Temperature | C | C
622 | Channel 3 Return Temperature | C | C
624 | Channel 3 Volume 1 | Litres | L
626 | Channel 3 Power | Watts | W
627 | Channel 3 Flow Rate | Litres per Hour | L/hour
630 | Channel 4 Energy | KWh | KWh
631 | Channel 4 Flow Temperature | C | C
632 | Channel 4 Return Temperature | C | C
634 | Channel 4 Volume 1 | Litres | L
636 | Channel 4 Power | Watts | W
637 | Channel 4 Flow Rate | Litres per Hour | L/hour
640 | Channel 5 Energy | KWh | KWh
641 | Channel 5 Flow Temperature | C | C
642 | Channel 5 Return Temperature | C | C
644 | Channel 5 Volume 1 | Litres | L
646 | Channel 5 Power | Watts | W
647 | Channel 5 Flow Rate | Litres per Hour | L/hour
4099 | RSSI | Decibel-milliwatt | dBm